## Range
minimal | maximal

## Series
increment | minimal | maximal

## ImageSize
height | width

## BoundingBox2D
x_min | x_max | y_min | y_max

## QuantityValue
unit | value

## QuantitySI
valueSI | unitSI | unit | value

## Descriptors
descriptor_name | descriptor_thing

## Acquisition
technique | screen_current | nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detectors | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## AcquisitionSpa
technique | screen_current | nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detectors | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## EnergyFilter
used | model | width_energy_filter

## SpecialistOptics
phaseplate | spherical_aberration_corrector | chromatic_aberration_corrector

## Phaseplate
used | instrument_type

## SphericalAberrationCorrector
used | instrument_type

## ChromaticAberrationCorrector
used | instrument_type

## Detector
name | mode | dispersion | collection_angle

## Instrument
microscope | illumination | imaging | electron_source | acceleration_voltage | c2_aperture | cs | operating_mode | beam_convergence

## Microscope
model | manufacturer

## SampleEnv
specimen_env | freezing | thinning | tomogram_features

## SpecimenEnv
organism | tissue | source_env | location | collection_date | handling

## Freezing
cryogen_sample_env | method | blotting | humidity_env | temperature_env | atmosphere | details

## Thinning
method_thin | instrument_thin | ion_source | target_thickness | lift_out

## TomogramFeatures
cellular_features | organelles | main_target | details_tomo

## SampleCell
growth_condition | specimen_env | freezing | thinning | tomogram_features

## GrowthCondition
media | growth_location | cell_cycle | treatment | atmosphere_growth | temperature_growth

## TiltAngle
increment | minimal | maximal

## AcquisitionTomo
tilt_axis_angle | tilt_angle | technique | screen_current | nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detectors | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## AcquisitionSubTomo
tilt_axis_angle | tilt_angle | technique | screen_current | nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detectors | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## AcquisitionEnvTomo
tilt_axis_angle | tilt_angle | technique | screen_current | nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detectors | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## AcquisitionCelTomo
tilt_axis_angle | tilt_angle | technique | screen_current | nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detectors | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## Organizational
grants | authors | funder

## Person
family_name | given_name | job_title | email | telephone

## Author
orcid | country | role | name_org | type_org | family_name | given_name | job_title | email | telephone

## Grant
grant_name | start_date | end_date | budget | project_id | country

## Funder
funder_name | type_org | country

## EMDatasetCell
acquisition | instrument | sample | organizational