## Range
minimal | maximal

## Series
increment | minimal | maximal

## ImageSize
height | width

## BoundingBox2D
x_min | x_max | y_min | y_max

## QuantityValue
unit | value

## QuantitySI
valueSI | unitSI | unit | value

## Descriptors
descriptor_name | descriptor_thing

## Acquisition
technique | screen_current | nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detectors | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## AcquisitionSpa
technique | screen_current | nominal_defocus | calibrated_defocus | nominal_magnification | calibrated_magnification | holder | holder_cryogen | temperature_range | microscope_software | detectors | dose_per_movie | energy_filter | image_size | date_time | exposure_time | cryogen | frames_per_movie | grids_imaged | images_generated | binning_camera | pixel_size | specialist_optics | beamshift | beamtilt | imageshift | beamtiltgroups | gainref_flip_rotate

## EnergyFilter
used | model | width_energy_filter

## SpecialistOptics
phaseplate | spherical_aberration_corrector | chromatic_aberration_corrector

## Phaseplate
used | instrument_type

## SphericalAberrationCorrector
used | instrument_type

## ChromaticAberrationCorrector
used | instrument_type

## Detector
name | mode | dispersion | collection_angle